## Sanitary facilities calculator
Calculator
Building address | Address line 1 | [6 empty] | Colour guide
| Address line 2 | [6 empty] | Input | Calculated | NA
Building classification | Class 3 - other than Class 3 residential aged care buildings
|  |  | Required sanitary facilities |  |  |  |  | Notes - for the selected building class
Gender | Design occupancy | User group | Closet pans | Urinals | Washbasins | Showers | Baths | These figures apply only for those residents who are NOT being provided with their own private facilities and are for each building or group of buildings. | Note exception as per F4D2(2)(b) if one urinal is provided for each 25 males up to 50 and one additional urinal for each additional 50 males or part thereof, one closet pan for each 12 males may be provided. | F4D2(2)(a) requires that for every 10 residents NOT provided with private facilities, facilities shall provide EITHER a bath OR shower. Therefore, the required number is the bath or shower number, NOT the sum of both. | F4D2(2)(d)states that these facilities need not be situated in the same building. | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
Male | 0 | employees | 0 | 0 | 0 | NA | NA
Female | 0 | employees | 0 | NA | 0 | NA | NA
No gender applies | 0 | residents | 0 | NA | 0 | 0 | 0
NA: do not enter value here | 0 | residents | NA | NA | NA | NA | NA
|  | NA | NA | NA | NA | NA | NA
|  | NA | NA | NA | NA | NA | NA
NOTE: In calculating the number of facilities to be provided, under F4D2 and F4D4 an accessible unisex facility required for people with a disability may be counted once for each sex. An accessible unisex facility comprises one closet pan, one washbasin and adequate means of disposal of sanitary products. This concession means that for each wash basin and closet pan counted above, you may deduct one for each accessible unisex facility provided. This concession does NOT apply to urinals. Refer to F4D3 for further details.
Calculating the required number of accessible and ambulant unisex sanitary facilities |  |  | NOTE - ACCESSIBLE UNISEX SANITARY COMPARTMENT - These comprise of: a closet pan, washbasin, shelf or benchtop, and adequate means of disposal of sanitary products. The design of the accessible sanitary facility must comply with AS 1428.1. Refer to F4D5 for further information on accessible sanitary facilities.
Number of levels in your building (including ground level) |  | 2 | NOTE - BANKS of SANITARY COMPARTMENTS: Due to the individual nature of building projects and their intended use, the definition of a 'bank' of sanitary compartments can be subjective. This calculator is intended as a guide only.
Number of banks of sanitary compartments per level |  | 2
Required number of accessible unisex sanitary compartments per level |  | 1 | NOTE - AMBULANT SANITARY COMPARTMENTS: This calculator only determines the number of ambulant sanitary compartments required based on the required number of accessible sanitary compartments as per the Deemed-to-Satisfy provisions of the NCC 2022 Volume One, Part F4D5. It does not account for the voluntary provision of additional accessible sanitary compartments to a bank of sanitary compartments. Where additional accessible sanitary compartments have been included voluntarily, F4D5(c) must be satisfied.
Required number of male ambulant sanitary compartments per level |  | 1
Required number of female ambulant sanitary compartments per level |  | 1
Required total number of accessible unisex sanitary compartments |  | 2 | NOTE - ACCESSIBLE ADULT CHANGE FACILITIES: This part of the calculator does not address the requirements for accessible adult change facilities. Refer to F4D12 for the relevant requirements.
Required total number of ambulant sanitary compartments |  | 4
Help guide
IMPORTANT NOTICE AND DISCLAIMER IN RESPECT OF THIS SANITARY FACILITIES CALCULATOR:
By accessing or using this calculator, you agree to the following: The ABCB (as the Commonwealth of Australia acting on behalf of the Commonwealth of Australia, the State of New South Wales, the State of Queensland, the State of Victoria, the State of South Australia, the State of Tasmania, the State of Western Australia, the Australian Capital Territory and the Northern Territory) provides the Sanitary facilities calculator for general information purposes only. While we make every effort to ensure that information provided is accurate and up to date, such information does in no way constitute the provision of professional advice.
The ABCB does not provide any warranties in relation to the accuracy, currency, reliability or completeness of any information provided by the ABCB. The ABCB accepts no responsibility or liability for any damage, loss, or expense incurred by you or anyone else that arises out of reliance on any information provided by the ABCB. You should make your own independent inquiries, undertake your own due diligence, and obtain your own independent professional advice prior to relying on, or making any decisions in relation to any information provided by the ABCB.
Sanitary facilities
© Commonwealth of Australia and the States and Territories of Australia 2022, published by the Australian Building Codes Board.
The material in this publication is licensed under a Creative Commons Attribution—4.0 International licence, with the exception of third party materials and any trade marks. It is provided for general information only and without warranties of any kind. More information on this CC BY licence is set out at the Creative Commons website. For information regarding this publication, see abcb.gov.au.
NOTICE FOR ALL USERS:
The Sanitary facilities calculator is not a compliance tool, nor a verification method. It is provided solely to aid practitioners in developing their understanding of the NCC.
Note on C5: Enter unit and/or street number and street name in adjacent cell on right.
Note on C6: Enter suburb, city, state/territory and postcode details in adjacent cell on right.
Note on B8: Refer to NCC Vol. 1, Part A6 for full details on classification of buildings and structures.
Note on C8: Select the classification that applies to your building/structure as per NCC Vol. One, Part A6.
Note on E11: The cells below will show you the required number of sanitary facilities for your selected classification. These numbers are calculated as per requirements in NCC Vol. One, Tables F4D4a to F4D4l.
Note on B12: Gender may be specified depending on classification of building. Refer to help guide for further details.
Note on C12: Enter desired number of occupants for your selected classification below in the gold cells as required.
Note on D12: The selected classification will show you the applicable user groups below. Where "NA" is shown, you do not need to enter a value in the adjacent gold design occupancy cell.
Note on B28: Enter number of levels in your building in gold cell adjacent on right.
Note on B29: Enter number of banks of toilets in your building in gold cell adjacent on right.

## Help guide
Calculator
Technical information
1. Version
This is Version 2.0 of the Sanitary Facilities Calculator is first issued for use under Part F4 Sanitary and other facilities, NCC 2022 Volume One Deemed-to-Satisfy (DTS) Provisions.
· The file name includes the version number. The latest version should always be used.
· A record of changes made to each version of this calculator appears at the end of this Help Guide.
2. Operating system
The calculator has been developed in the Windows® version of Microsoft Excel® 2013 on Windows 10.
3. Displaying the calculator form
The calculator form has been designed for viewing at 75% zoom. Some users may need to adjust the screen zoom setting to see the whole form at once. The worksheet background does not change when zoom settings are altered and does not print.
4. Changing input details
The address cells, the building classification cell, the design occupancy cells, the number of levels and banks of toilets (for accessible unisex sanitary facilities) cells are available for user input. Input cells are coloured gold. All other cells are not available for selection or editing.
5. Printing
The calculator form can be printed using the File/Print menu. The print area has been pre-set to fit onto one A4 page in landscape orientation.
6. Users’ worksheet
A protected worksheet with a majority of cells accessible has been provided for users’ own notes and calculations.
Protection is necessary to maintain the integrity of the calculator but does restrict the functions and operations available to the user. The worksheet can be accessed by selecting the “Worksheet” tab at the bottom of the Excel window.
Use of this worksheet is optional and responsibility for its contents and outputs rests entirely with the user. The ABCB accepts no responsibility for any calculations performed or the outputs of these calculations on this worksheet.
Page 1 of 5
State and territory variations
Please note that this calculator does not account for State and Territory Variations to Part F4 Sanitary and other facilities.
NCC defined terms
Please note that the calculator incorporates NCC defined terms. Refer to the NCC for further information on defined terms.
How to use the calculator
To demonstrate how to use the calculator, an example of a new primary school has been used. The required information to be entered includes:
· building address
· building classification as per NCC Volume One, Part A6 Building classification and
· number of building occupants. This includes teachers, support staff (i.e. employees) and students.
Once these details are entered, the calculator will work out the required number of sanitary facilities for the school used in the example. Refer to the following step by step guide.
Step 1
Enter the address details of the building location as per screenshot example below, into the cells. You can also hover your mouse pointer over the red corner triangles in the 'Address line' cells for supporting comments on what to enter.
Figure 1 Example of sanitary facility calculator table showing the building address cells
Step 2
Select the building classification that applies to the project. For our working example, it will be 'Class 9b – schools'. The selection is made in the GOLD input cell – use the drop-down list arrow (as circled in red below) to select your building classification. You can also hover your mouse pointer over the red corner triangle in the building classification cell for supporting comment on what to enter.
Figure 2 Example of sanitary facility calculator table showing the building classification cell
Step 3
Enter the number of occupants that the building is designed to accommodate into the 'Design Occupancy' column. Note that user groups will differ by building classification. In the case of Class 9b – schools, the two user groups are employees (i.e. teachers, administration and support staff) and students. Gender requirements may vary. Select enter after entering the numbers. Only input where required to do so.
Page 2 of 5
You can also hover your mouse pointer over the red corner triangles in the 'Gender', 'Design Occupancy' and 'User Group' header cells for supporting comments on what to enter.
Figure 3 Example of sanitary facility calculator table showing the design occupancy, gender
and user group columns.
To correctly determine the number of occupants your building accommodates, refer to NCC Volume One D2D18, Number of persons accommodated. This provision sets out the area (m2) per person by type of use.
For the purposes of determining the number of sanitary facilities in a building, the ratio of males and females accommodated in a building is assumed to be 50-50, unless the building is used mainly by one sex. For example, in a women’s hospital – you could reasonably assume that all patients will be female.
Step 4
Refer to the columns under 'Required sanitary facilities'. These will display the required number of sanitary facilities for each user group applicable for the building as per NCC Volume One Part F4D4, Facilities in Class 3 to 9 buildings. Note that this does not include accessible unisex sanitary facilities.
Figure 4 Example of sanitary facilities calculator table showing the required number of
facilities
For each respective user group (including by gender), the required number of closet pans, urinals and washbasins has been specified. Where a requirement is not applicable, for example – urinals are not required for female occupants, a “NA”, i.e. not applicable, result will show.
Page 3 of 5
Step 5
Check the notes box to the right of the 'Required sanitary facilities' cells. Any information in this box will be specific to the building classification selected. For the building classification 'Class 9b – schools', there is one note.
Figure 5 Example for sanitary facilities calculator showing location of the Notes box.
Step 6
Now, let’s look at the accessible sanitary facilities component of the calculator. NCC Volume One Part F4D5, Accessible sanitary facilities outlines in further detail the DTS Provisions for accessible sanitary facilities. You need to be aware of these requirements – do not just rely on the calculator.
Note that this calculator does not calculate whether the requirements for accessible adult change facilities apply to your project - please refer to Part F4D12 for further information on these requirements.
Figure 6: Example for sanitary facilities calculator showing location of cells for calculating
the required number of accessible and ambulant sanitary facilities.
The first input is the number of levels in the building, including the ground level. In this example, the school is a two storey building, so enter the number two (2) in the gold input cell adjacent to the 'number of levels' cell. The next input is the number of banks of sanitary compartments in the building on each level. The NCC does not define a ‘bank’, however a common example is where sanitary compartments for use by males and females are located together. The school in this example is large, so there are two separate banks of toilets on each level of the building. Enter the number two (2) in the gold input cell adjacent to the “number of banks” cell.
Page 4 of 5
Once these two values are entered, the calculator estimates the required number of accessible and ambulant sanitary compartments for each level of the building, as well as the total required number of accessible and ambulant sanitary compartments. For this example, one (1) accessible unisex sanitary compartment is required per level, which brings the total required number to two (2).
This concludes the example of how to use the calculator. Please be aware that you should only use this calculator in conjunction with NCC Volume One Part F4, Sanitary and other facilities and make yourself aware of other related requirements for accessible facilities, including accessible adult change facilities and calculating building occupant densities.
Version history
Version 2.0:
This version includes revisions solely to align with clause changes in NCC 2022.
No changes have been made to calculation methods.
Version 1.2:
This version includes a revision to the supporting formulas for calculating required ambulant facilities and an additional note regarding the calculation of ambulant sanitary facilities.
Version 1.1:
This version follows the release and withdrawal of the beta sanitary facilities calculator in 2018. Amendments following the beta version include corrections to some supporting formulas for calculations relating to required sanitary facilities for some building classifications, minor revisions and additions to supporting notes and the Help guide to align with NCC 2019, and minor graphic design revisions.
Page 5 of 5
Sanitary Facilities
Help guide
Return to calculator worksheet

## Worksheet
Users' worksheet:
This worksheet has been added for recording notes and making calculations (where desired).
To maintain the integrity of the Calculator, this sheet is protected causing some unavoidable restrictions on the functions available.
All cells below row 5 are accessible for user input, editing and formatting, subject to the limitations due to protection.
Use of this worksheet is optional and responsibility for its contents and consequences remains entirely with the user.

## Tables (hidden)
[5 empty] | Building class | Class 3 - other than Class 3 residential aged care buildings
Required sanitary facilities
[6 empty] | Design occupancy | User group |  | Closet pans | Urinals | Wash basins | Showers | Baths
[5 empty] | Male | 0 | employees |  | 0 | 0 | 0 | NA | NA
Building class - for sanitary facilities | User group 1 | User group 2 | User group 3 |  | Female | 0 | employees |  | 0 | NA | 0 | NA | NA
Class 3 - other than Class 3 residential aged care buildings | employees | residents | NA
Class 3 - residential aged care buildings | employees | residents | NA |  |  | 0 | residents |  | 0 | NA | 0 | 0 | 0
Class 5, 6 and 9 (other than schools) | employees | NA | NA |  |  | 0 | residents |  | NA | NA | NA | NA | NA
Class 6 - department stores, shopping centres | employees | patrons | NA
Class 6 - restaurants, cafes, bars | employees | patrons | NA |  |  | 0 | NA |  | NA | NA | NA | NA | NA
Class 7 and 8 | employees | NA | NA |  |  | 0 | NA |  | NA | NA | NA | NA | NA
Class 9a - health-care buildings | employees | patients | NA
Class 9b - churches, chapels or the like | employees | patrons | NA
Class 9b - early childhood centres | employees | children | NA
Class 9b - public halls, function rooms or the like | employees | patrons | NA
Class 9b - schools | employees | students | NA
Class 9b - single auditorium theatres and cinemas | employees | spectators or patrons | NA
Class 9b - sports venues or the like | employees | spectators or patrons | participants
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | employees | spectators or patrons | participants
Class 9c - an aged care building | employees | residents | NA
Class | Gender | User group | Type | Required No. | Limit 1 | 1 # | Calc 1 | Limit 2 | 2 # | Calc 2 | Limit 3 | 3 # | Calc 3 | Limit 4 | 4 # | Calc 4 | Limit 5 | 5 # | Calc 5 | Limit 6 | 6 # | Calc 6 | Limit 7 | 7 # | Calc 7 | Past limits calc
Class 5, 6 and 9 (other than schools) | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 5, 6 and 9 (other than schools) | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 5, 6 and 9 (other than schools) | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 5, 6 and 9 (other than schools) | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 5, 6 and 9 (other than schools) | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 6 - department stores, shopping centres | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 6 - department stores, shopping centres | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 6 - department stores, shopping centres | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 6 - department stores, shopping centres | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 6 - department stores, shopping centres | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 6 - department stores, shopping centres | Female | patrons | Closet pans | 0 | 300 | 1 | 0 | 600 | 1 | 0 | [15 empty] | 0
Class 6 - department stores, shopping centres | Female | patrons | Wash basins | 0 | 600 | 1 | 0 | 1200 | 1 | 0 | [15 empty] | 0
Class 6 - department stores, shopping centres | Male | patrons | Closet pans | 0 | 1200 | 1 | 0 | [18 empty] | 0
Class 6 - department stores, shopping centres | Male | patrons | Urinals | 0 | 600 | 1 | 0 | [18 empty] | 0
Class 6 - department stores, shopping centres | Male | patrons | Wash basins | 0 | 600 | 1 | 0 | [18 empty] | 0
Class 6 - restaurants, cafes, bars | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 6 - restaurants, cafes, bars | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 6 - restaurants, cafes, bars | Female | patrons | Closet pans | 0 | 25 | 1 | 0 | 50 | 2 | 0 | 100 | 3 | 0 | 150 | 4 | 0 | 200 | 5 | 0 | 250 | 6 | 0 |  |  |  | 0
Class 6 - restaurants, cafes, bars | Female | patrons | Wash basins | 0 | 50 | 1 | 0 | 150 | 2 | 0 | [15 empty] | 0
Class 6 - restaurants, cafes, bars | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 6 - restaurants, cafes, bars | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 6 - restaurants, cafes, bars | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 6 - restaurants, cafes, bars | Male | patrons | Closet pans | 0 | 100 | 1 | 0 | 300 | 2 | 0 | [15 empty] | 0
Class 6 - restaurants, cafes, bars | Male | patrons | Urinals | 0 | 50 | 1 | 0 | 100 | 2 | 0 | 150 | 3 | 0 | 200 | 4 | 0 | 250 | 5 | 0 | [6 empty] | 0
Class 6 - restaurants, cafes, bars | Male | patrons | Wash basins | 0 | 50 | 1 | 0 | 200 | 2 | 0 | [15 empty] | 0
Class 7 and 8 | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 7 and 8 | Female | employees | Wash basins | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 7 and 8 | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 7 and 8 | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 7 and 8 | Male | employees | Wash basins | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Female | patients | Closet pans | 0 | 16 | 2 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Female | patients | Wash basins | 0 | 8 | 1 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 9a - health-care buildings | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Male | patients | Closet pans | 0 | 16 | 2 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Male | patients | Wash basins | 0 | 8 | 1 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Male | patients | Showers | 0 | 8 | 1 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Female | patients | Showers | 0 | 8 | 1 | 0 | [18 empty] | 0
Class 9a - health-care buildings | Male | patients | Baths | Refer to notes
Class 9a - health-care buildings | Female | patients | Baths | Refer to notes
Class 9b - early childhood centres |  | children | Closet pans | 0 | 30 | 2 | 0 | [18 empty] | 0
Class 9b - early childhood centres |  | children | Wash basins | 0 | 30 | 2 | 0 | [18 empty] | 0
Class 9b - early childhood centres |  | children | Showers | Refer to notes
Class 9b - early childhood centres |  | children | Baths | Refer to notes
Class 9b - early childhood centres | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 9b - early childhood centres | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - early childhood centres | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9b - early childhood centres | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 9b - early childhood centres | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - churches, chapels or the like | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 9b - churches, chapels or the like | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - churches, chapels or the like | Female | patrons | Closet pans | 0 | 150 | 1 | 0 | [18 empty] | 0
Class 9b - churches, chapels or the like | Female | patrons | Wash basins | 0 | 250 | 1 | 0 | [18 empty] | 0
Class 9b - churches, chapels or the like | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9b - churches, chapels or the like | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 9b - churches, chapels or the like | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - churches, chapels or the like | Male | patrons | Closet pans | 0 | 300 | 1 | 0 | [18 empty] | 0
Class 9b - churches, chapels or the like | Male | patrons | Urinals | 0 | 200 | 1 | 0 | [18 empty] | 0
Class 9b - churches, chapels or the like | Male | patrons | Wash basins | 0 | 250 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Female | participants | Closet pans | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Female | participants | Wash basins | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Female | spectators or patrons | Closet pans | 0 | 10 | 1 | 0 | 50 | 2 | 0 | [15 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Female | spectators or patrons | Wash basins | 0 | 80 | 1 | 0 | 250 | 2 | 0 | 430 | 3 | 0 | [12 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | participants | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | participants | Urinals | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | participants | Wash basins | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | participants | Showers | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Female | participants | Showers | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | spectators or patrons | Closet pans | 0 | 250 | 1 | 0 | 500 | 2 | 0 | [15 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | spectators or patrons | Urinals | 0 | 100 | 1 | 0 | [18 empty] | 0
Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like | Male | spectators or patrons | Wash basins | 0 | 150 | 1 | 0 | [18 empty] | 0
Class 9b - public halls, function rooms or the like | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 9b - public halls, function rooms or the like | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - public halls, function rooms or the like | Female | patrons | Closet pans | 0 | 25 | 1 | 0 | 50 | 2 | 0 | 100 | 3 | 0 | 150 | 4 | 0 | 200 | 5 | 0 | 250 | 6 | 0 |  |  |  | 0
Class 9b - public halls, function rooms or the like | Female | patrons | Wash basins | 0 | 50 | 1 | 0 | 150 | 2 | 0 | [15 empty] | 0
Class 9b - public halls, function rooms or the like | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9b - public halls, function rooms or the like | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 9b - public halls, function rooms or the like | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - public halls, function rooms or the like | Male | patrons | Closet pans | 0 | 100 | 1 | 0 | [18 empty] | 0
Class 9b - public halls, function rooms or the like | Male | patrons | Urinals | 0 | 50 | 1 | 0 | 100 | 2 | 0 | 150 | 3 | 0 | 200 | 4 | 0 | 250 | 5 | 0 | [6 empty] | 0
Class 9b - public halls, function rooms or the like | Male | patrons | Wash basins | 0 | 50 | 1 | 0 | 200 | 2 | 0 | [15 empty] | 0
Class 9b - schools | Female | employees | Closet pans | 0 | 5 | 1 | 0 | [18 empty] | 0
Class 9b - schools | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - schools | Female | students | Closet pans | 0 | 10 | 1 | 0 | 25 | 2 | 0 | 50 | 3 | 0 | 75 | 4 | 0 | 100 | 4 | 0 | [6 empty] | 0
Class 9b - schools | Female | students | Wash basins | 0 | 10 | 1 | 0 | 50 | 2 | 0 | 100 | 3 | 0 | [12 empty] | 0
Class 9b - schools | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9b - schools | Male | employees | Urinals | 0 | 10 | 0 | 0 | 20 | 1 | 0 | 45 | 2 | [13 empty] | 0
Class 9b - schools | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - schools | Male | students | Closet pans | 0 | 25 | 1 | 0 | 75 | 2 | 0 | 150 | 3 | 0 | 200 | 4 | 0 | [9 empty] | 0
Class 9b - schools | Male | students | Urinals | 0 | 50 | 1 | 0 | 100 | 2 | 0 | [15 empty] | 0
Class 9b - schools | Male | students | Wash basins | 0 | 10 | 1 | 0 | 50 | 2 | 0 | 100 | 3 | 0 | [12 empty] | 0
Class 9b - single auditorium theatres and cinemas | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 9b - single auditorium theatres and cinemas | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - single auditorium theatres and cinemas | Female | patrons | Closet pans | 0 | 50 | 0 | 0 | 110 | 3 | 0 | 170 | 4 | 0 | 230 | 5 | 0 | 250 | 6 | [7 empty] | 0
Class 9b - single auditorium theatres and cinemas | Female | patrons | Wash basins | 0 | 50 | 0 | 0 | 150 | 1 | [16 empty] | 0
Class 9b - single auditorium theatres and cinemas | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9b - single auditorium theatres and cinemas | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 9b - single auditorium theatres and cinemas | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - single auditorium theatres and cinemas | Male | patrons | Closet pans | 0 | 50 | 0 | 0 | 250 | 1 | 0 | 500 | 2 | [13 empty] | 0
Class 9b - single auditorium theatres and cinemas | Male | patrons | Urinals | 0 | 50 | 0 | 0 | 100 | 1 | [16 empty] | 0
Class 9b - single auditorium theatres and cinemas | Male | patrons | Wash basins | 0 | 50 | 0 | 0 | 150 | 1 | [16 empty] | 0
Class 9b - sports venues or the like | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Female | participants | Closet pans | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Female | participants | Wash basins | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Female | spectators or patrons | Closet pans | 0 | 15 | 1 | 0 | 60 | 2 | 0 | 120 | 3 | 0 | [12 empty] | 0
Class 9b - sports venues or the like | Female | spectators or patrons | Wash basins | 0 | 60 | 1 | 0 | 200 | 2 | 0 | 350 | 3 | 0 | [12 empty] | 0
Class 9b - sports venues or the like | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 9b - sports venues or the like | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Male | participants | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Male | participants | Urinals | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Male | participants | Showers | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Female | participants | Showers | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Male | participants | Wash basins | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Male | spectators or patrons | Closet pans | 0 | 250 | 1 | 0 | 500 | 2 | 0 | [15 empty] | 0
Class 9b - sports venues or the like | Male | spectators or patrons | Urinals | 0 | 100 | 1 | 0 | [18 empty] | 0
Class 9b - sports venues or the like | Male | spectators or patrons | Wash basins | 0 | 150 | 1 | 0 | [18 empty] | 0
Class 3 - residential aged care buildings | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 3 - residential aged care buildings | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 3 - residential aged care buildings | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 3 - residential aged care buildings | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 3 - residential aged care buildings | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 3 - residential aged care buildings |  | residents | Showers | 0 | 8 | 1 | 0 | [18 empty] | 0
Class 3 - residential aged care buildings |  | residents | Closet pans | 0 | 8 | 1 | 0 | [18 empty] | 0
Class 3 - residential aged care buildings |  | residents | Wash basins | 0 | 8 | 1 | 0 | [18 empty] | 0
Class 3 - residential aged care buildings |  | residents | Baths | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9c - an aged care building | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 9c - an aged care building | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9c - an aged care building | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 9c - an aged care building | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 9c - an aged care building | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 9c - an aged care building |  | residents | Showers | 0 | 7 | 1 | 0 | [18 empty] | 0
Class 9c - an aged care building |  | residents | Closet pans | 0 | 6 | 1 | 0 | [18 empty] | 0
Class 9c - an aged care building |  | residents | Wash basins | 0 | 6 | 1 | 0 | [18 empty] | 0
Class 9c - an aged care building |  | residents | Baths | Refer to notes
Class 3 - other than Class 3 residential aged care buildings | Female | employees | Closet pans | 0 | 15 | 1 | 0 | [18 empty] | 0
Class 3 - other than Class 3 residential aged care buildings | Female | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 3 - other than Class 3 residential aged care buildings | Male | employees | Closet pans | 0 | 20 | 1 | 0 | [18 empty] | 0
Class 3 - other than Class 3 residential aged care buildings | Male | employees | Urinals | 0 | 10 | 0 | 0 | 25 | 1 | 0 | 50 | 2 | [13 empty] | 0
Class 3 - other than Class 3 residential aged care buildings | Male | employees | Wash basins | 0 | 30 | 1 | 0 | [18 empty] | 0
Class 3 - other than Class 3 residential aged care buildings |  | residents | Showers | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 3 - other than Class 3 residential aged care buildings |  | residents | Closet pans | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 3 - other than Class 3 residential aged care buildings |  | residents | Wash basins | 0 | 10 | 1 | 0 | [18 empty] | 0
Class 3 - other than Class 3 residential aged care buildings |  | residents | Baths | 0 | 10 | 1 | 0 | [18 empty] | 0
| Building class - for sanitary facilities | [6 empty] | Required number of accessible unisex sanitary compartments per level
| Class 5, 6 and 9 (other than schools) |  |  | employees | NA | NA |  | 1
| Class 3 - other than Class 3 residential aged care buildings |  |  | employees | residents | NA |  | 2
| Class 3 - residential aged care buildings |  |  | employees | residents | NA |  | 2
| Class 7 and 8 |  |  | employees | NA | NA |  | 1
| Class 6 - department stores, shopping centres |  |  | employees | patrons | NA |  | 1
| Class 6 - restaurants, cafes, bars |  |  | employees | patrons | NA |  | 1
| Class 9a - health-care buildings |  |  | employees | patients | NA |  | 1
| Class 9b - schools |  |  | employees | students | NA |  | 1
| Class 9b - early childhood centres |  |  | employees | children | NA |  | 1
| Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like |  |  | employees | spectators or patrons | participants |  | 1
| Class 9b - single auditorium theatres and cinemas |  |  | employees | patrons | NA |  | 1
| Class 9b - sports venues or the like |  |  | employees | spectators or patrons | participants |  | 1
| Class 9b - churches, chapels or the like |  |  | employees | patrons | NA |  | 1
| Class 9b - public halls, function rooms or the like |  |  | employees | patrons | NA |  | 1
| Class 9c - an aged care building |  |  | employees | residents | NA |  | 2
| Notes |  |  | Note A | Note B | Note C | Note D | Note E
| Class 5, 6 and 9 (other than schools) |  |  | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | NIL | NIL | NIL | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
| Class 3 - other than Class 3 residential aged care buildings |  |  | These figures apply only for those residents who are NOT being provided with their own private facilities and are for each building or group of buildings. | Note exception as per F4D2(2)(b) if one urinal is provided for each 25 males up to 50 and one additional urinal for each additional 50 males or part thereof, one closet pan for each 12 males may be provided. | F4D2(2)(a) requires that for every 10 residents NOT provided with private facilities, facilities shall provide EITHER a bath OR shower. Therefore, the required number is the bath or shower number, NOT the sum of both. | F4D2(2)(d)states that these facilities need not be situated in the same building. | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
| Class 3 - residential aged care buildings |  |  | These figures apply only for those residents who are NOT being provided with their own private facilities and are for each building or group of buildings. | F4D2(3)(b) Urinals must not be taken into consideration in calculating the number of facilities. | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | NIL | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
| Class 6 - department stores, shopping centres |  |  | Tables F4D4a to F4D4l Sanitary facilities need not be provided for patrons if the total number of persons accommodated in the building is not more than 600. | F4D4(5) Employees and the public may share the same facilities in a Class 6 and 9b building (other than a school or early childhood centre) provided the number of facilities provided is not less than the total number of facilities for employees plus those required for the public. | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers. | A unisex accessible adult change facility must be provided in an accessible part of a Class 6 building that is a shopping centre - having a design occupancy of not less than 3,500 people, calculated on the basis of the floor area and containing a minimum of 2 sole occupancy units. Refer to F4D12 for further details.
| Class 6 - restaurants, cafes, bars |  |  | Tables F4D4a to F4D4l Sanitary facilities need not be provided for patrons if the total number of persons accommodated in the building is not more than 20. | F4D4(5) Employees and the public may share the same facilities in a Class 6 and 9b building (other than a school or early childhood centre) provided the number of facilities provided is not less than the total number of facilities for employees plus those required for the public. | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | NIL | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
| Class 7 and 8 |  |  | Tables F4D4a to F4D4l Sanitary facilities need not be provided for a Class 8 electricity network substation. | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | NIL | NIL | NIL
| Class 9a - health-care buildings |  |  | F4D4(8)(a) A Class 9a health-care building must be provided with one kitchen or other adequate facility for the preparation and cooking or reheating of food including a kitchen sink and washbasin. | F4D4(8)(b) A Class 9a health-care building must be provided with laundry facilities for the cleansing and drying of linen and clothing or adequate facilities for holding and dispatch or treatment of soiled linen and clothing, sanitary products and the like and the receipt and storage of clean linen. | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | F4D4(7) Separate facilities for males and females need not be provided for patients in a ward area of a Class 9a building. F4D4(8)(d) A Class 9a health-care building must be provided with one island-type plunge bath in each storey containing a ward area.
| Class 9b - early childhood centres |  |  | Tables F4D4a to F4D4l Facilities for use by children must be: (a) junior pans; (b) washbasins with a rim height not exceeding 600 mm; and (c) accessible from both indoor and outdoor play areas. | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | Refer to F4D4(9) for additional requirements pertaining to food preparation areas, baths and showers, and children under the age of three (3). | NIL | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
| Class 9b - public halls, function rooms or the like |  |  | Tables F4D4a to F4D4l Sanitary facilities need not be provided for patrons if the total number of persons accommodated in the building is not more than 20. | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | F4D4(5) Employees and the public may share the same facilities in a Class 6 and 9b building (other than a school or early childhood centre) provided the number of facilities provided is not less than the total number of facilities for employees plus those required for the public. | NIL | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
| Class 9b - schools |  |  | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers. | NIL | NIL | NIL
| Class 9b - theatres and cinemas with multiple auditoria, art galleries or the like |  |  | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | F4D4(5) Employees and the public may share the same facilities in a Class 6 and 9b building (other than a school or early childhood centre) provided the number of facilities provided is not less than the total number of facilities for employees plus those required for the public. | NIL | NIL | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
| Class 9b - single auditorium theatres and cinemas |  |  | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | F4D4(5) Employees and the public may share the same facilities in a Class 6 and 9b building (other than a school or early childhood centre) provided the number of facilities provided is not less than the total number of facilities for employees plus those required for the public. | NIL | NIL | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
| Class 9b - sports venues or the like |  |  | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | F4D4(5) Employees and the public may share the same facilities in a Class 6 and 9b building (other than a school or early childhood centre) provided the number of facilities provided is not less than the total number of facilities for employees plus those required for the public. | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers. | NIL | One unisex accessible adult change facility must be provided in an accessible part of a Class 9b sports venue or the like that has a design occupancy of not less than 35,000 spectators, OR contains a swimming pool that has a perimeter of not less than 70m and that is required by D4D2 to be accessible. Refer to F4D12 for further details.
| Class 9b - churches, chapels or the like |  |  | F4D4(3) If not more than 10 people are employed, a unisex facility may be provided instead of facilities for each sex. | F4D4(5) Employees and the public may share the same facilities in a Class 6 and 9b building (other than a school or early childhood centre) provided the number of facilities provided is not less than the total number of facilities for employees plus those required for the public. | NIL | NIL | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.
| Class 9c - an aged care building |  |  | These figures apply only for those residents who are NOT being provided with their own private facilities and are for each building or group of buildings. | F4D2(3)(b) Urinals must not be taken into consideration in calculating the number of facilities. | For residents who do NOT have private facilities, provide a suitable bath, fixed or mobile, for each building or group of buildings -refer to F4D2(5)(a). | Refer to F4D2(5)(b) for requirements for kitchens, laundries and clinical hand washing basin. | Where shower facilities are required, refer to F4D5(b) for requirements for the provision of accessible unisex showers.